## Sheet1
|  | LIST OF EXTERNAL ORIGIN DOCUMENTS |  | DOC. NO. : | ISD-QA-047
|  |  |  | ISSUE NO : | 01
|  |  |  | REV NO : | 00
|  |  |  | DATE : | 01.06.14
|  |  |  | PAGE : | 01 of 01
SI.NO | Documents |  | Revision Details | Remarks
1 | APQP Reference manual |  | Second Edition
2 | PPAP Reference manual |  | Fourth Edition, March 2006
3 | FMEA Reference Manual |  | Fourth Edition June 2008
4 | MSA Reference Manual |  | Fourth Edition
5 | Supplier quality manual-Honda
6 | Supplier quality manual-TVS
7 | JIS B 7503 |  |  | Dial gauge Calibration
8 | JIS B 7502 |  |  | Calibration of Outside Micrometer
9 | JIS B 7517 |  |  | Calibration of Height gauge
10 | JIS B 7503 |  |  | Calibration of Plunger Dial gauge
11 | JIS B 7507 |  |  | Calibration of Vernier Caliper
12 | IS-5980-1994 |  |  | Calibration of Bench Center
13 | IS 4239-1970 |  |  | Calibration of Bevel Protractor
14 | IS 11103-1984 |  |  | Calibration of Pins/Balls
15 | JIS B 7545 |  |  | Calibration of Test Bars/Taper Mandrels
16 | JIS B 7533 |  |  | Calibration of Dial Test Indicator
17 | HES E 013-99 |  |  | Calibration of Bore Dial Gauge
18 | Gauge Drawings |  |  | Calibration of Spline Plug Gauge
19 | Gauge Drawings |  |  | Calibration of Spline Ring Gauge
20 | JIS B 7502 |  |  | Calibration of Tooth Thickness Micrometer
21 | Gauge Drawings |  |  | Calibration of Height Master gauge
22 | JIS B 7420:1997 |  |  | Calibration of Plain Plug Gauge
23 | JIS B 7420:1997 |  |  | Calibration of Snap Gauge
24 | JIS B 7420:1997 |  |  | Calibration of Plain Ring Gauge
25 | JIS B 7420:1997 |  |  | Calibration of Plain Width Gauge
26 | JIS B 7524:1992 |  |  | Calibration of Feeler Gauge
27 | JIS B 7526:1995 |  |  | Calibration of Try Square
28 | JIS B 7514:1977 |  |  | Calibration of Steel Parallel
29 | JIS B 7540:1972 |  |  | Calibration of Magnetic V Block
30 | Maker's Catalogue |  |  | Calibration of Air Plug Gauge
31 | As per the guidelines given in Process Sheet/ Final Drawing |  |  | Cam Profile Checking
32 | As per the guidelines given in Process Sheet/ Final Drawing |  |  | Gear Lead & Profile Testing
33 | As per the guidelines given in Process Sheet/ Final Drawing |  |  | Three Dimensional Inspection
34 | As per the guidelines given in Process Sheet/ Final Drawing |  |  | Roughness Parameter Checking (Bibri checking)
PREPARED BY |  |  | APPROVED BY

## Sheet2
Annexure to Laboratory Scope
Srl | Test Performed | Equipments | Equipment Model | Standards | Methods/Work Instruction
1 | Gear Lead & Profile Testing | Gear Tester | Osaka GC-3H | As per the guidelines given in Process Sheet/Final DrawingFinal Drawing | Annexure to ISW-QA-001
2 | Form Errors Checking | Roundness Tester | Mitutoyo RA 2000DH | As per the guidelines given in Process Sheet/Final DrawingFinal Drawing | Annexure to ISW-QA-033
3 | Profiles | Contour Tester | Mitutoyo CV 3000 | As per the guidelines given in Process Sheet/Final DrawingFinal Drawing | Annexure to ISW-QA-034
4 | Roughness Parameter Checking (Max Height of Profile) | Roughness Tester | Mitutoyo SJ 401 | As per the guidelines given in Process Sheet/Final DrawingFinal Drawing | Annexure to ISW-QA-004
5 | 2D Dimensions Inspection | Profile Porojector | Nikkon V12B | As per the guidelines given in Process Sheet/Final DrawingFinal Drawing | Annexure to ISW-QA-034
| 2D Dimensions Inspection | Linear Height Gauge | Mitutoyo LH 600 | As per the guidelines given in Process Sheet/Final DrawingFinal Drawing | Annexure to ISW-QA-005
6 | Dial gauge Calibration | Electronic Dial Calibration Tester | Kudale | JIS B 7503 | Annexure to ISW-QA-006
7 | Calibration of Outside Micrometer | Micrometer Calibration Gauge Blocks Combination | -- | JIS B 7502 | ISW-QA-007
8 | Calibration of Height gauge | Caliper Checker | -- | JIS B 7517 | ISW-QA-008
9 | Calibration of Plunger Dial gauge | Electronic Dial Calibration Tester | -- | JIS B 7503 | ISW-QA-009
10 | Calibration of Vernier Caliper | Caliper Checker | -- | JIS B 7507 | ISW-QA-010
11 | Calibration of Bench Center | Master Mandrel(Straight) | -- | IS-5980-1994 | ISW-QA-011
12 | Calibration of Bevel Protractor | Coordinate Measuring Machine | -- | IS 4239-1970 | ISW-QA-012
13 | Calibration of Pins/Balls | Indicating Micrometers | -- | IS 11103-1984 | ISW-QA-013
14 | Calibration of Test Bars/Taper Mandrels | Bench Center+Plunger Dial | -- | JIS B 7545 | ISW-QA-014
15 | Calibration of Dial Test Indicator | Electronic Dial Calibration Tester | -- | JIS B 7533 | ISW-QA-015
16 | Calibration of Bore Dial Gauge | Electronic Dial Calibration Tester | -- | HES E 013-99 | ISW-QA-016
17 | Calibration of Spline Plug Gauge | Outside Micrometers+Master Cylinder Pins | -- | Gauge Drawings | ISW-QA-017
18 | Calibration of Spline Ring Gauge | Gauge Blocks+Master Cylinder Pins | -- | Gauge Drawings | ISW-QA-018
19 | Calibration of Tooth Thickness Micrometer | Micrometer Calibration Gauge Blocks Combination | -- | JIS B 7502 | ISW-QA-019
20 | Calibration of Height Master gauge | Gauge Blocks+Indicating Micrometer | -- | Gauge Drawings | ISW-QA-020
21 | Calibration of Plain Plug Gauge | Gauge Blocks+Indicating Micrometer | -- | JIS B 7420:1997 | ISW-QA-021
page 1 of 2
Annexure to Laboratory Scope(Contd)
22 | Calibration of Snap Gauge | Gauge Block (Grade'1') | -- | JIS B 7420:1997 | ISW-QA-022
23 | Calibration of Plain Ring Gauge | Bore Dial Gauge/Linear Height gauge | -- | JIS B 7420:1997 | ISW-QA-023
24 | Calibration of Plain Width Gauge | Digimatic Outside Micrometer | -- | JIS B 7420:1997 | ISW-QA-024
25 | Calibration of Feeler Gauge | Digimatic Outside Micrometer | -- | JIS B 7524:1992 | ISW-QA-025
26 | Calibration of Try Square | Coordinate Measuring Machine | -- | JIS B 7526:1995 | ISW-QA-026
27 | Calibration of Steel Parallel | Coordinate Measuring Machine | -- | JIS B 7514:1977 | ISW-QA-027
28 | Calibration of Magnetic V Block | Digital Height gauge | -- | JIS B 7540:1972 | ISW-QA-028
29 | Calibration of Air Plug Gauge | Setting Master+Read Out Units | -- | Maker's Catalogue | ISW-QA-029
30 | Cam Profile Checking | Cam Tester | Toshi Engineering Corp | As per the guidelines given in Process Sheet/ Final Drawing | Annexure to ISW-QA-030
31 | Gear Lead & Profile Testing | CNC Gear Checker | Osaka CLP-35 | As per the guidelines given in Process Sheet/ Final Drawing | Annexure to ISW-QA-031
32 | Three Dimensional Inspection | Coordinate Measuring Machine | Crysta 574 | As per the guidelines given in Process Sheet/ Final Drawing | Annexure to ISW-QA-032
33 | Roughness Parameter Checking (Bibri checking) | Roughness Tester | Kosaka SE - 3500 | As per the guidelines given in Process Sheet/ Final Drawing | Annexure to ISW-QA-033
page 2 of 2