## Dial Calibration Tester
[5 empty] | Doc No : |  | ISW-QA-007
[5 empty] | Issue No : |  | 4
Musashi Auto Parts India Pvt Ltd |  |  |  |  | Rev No : |  | 1
[5 empty] | Date : |  | 08.05.2017
Electronic Dial Calibration Tester
Purpose: This documented text aims to demonstrate the various features available in the abovesaid equipment,
operating procedures,calibration methods and reference standards used ,if any.
Scope: For calibration of Dial Gauge ,Dial Test Indicator & Bore Gauge of various resolutions..
Reference Standards/Materials :
Description:This machine could be used effectively for calibration of Dial Gauge,Dial Test Indicator & Bore
Gauge of different resolutions.This instrument consists of three parts viz Mechanical Stand ,
Probe P10 and Electronic Indicating Unit D-80.The mechanical stand consists of robust cast iron
base fixed with a precision ground column with hard chrome plating.A measuring arm assembly
can move up and down smoothly on this column with the help of Rack and Pinion arrangement.
The dial gauge is clamped with the holder and probe is brought in contact with the Probe P 10.
The electronic display is set to zero at some specified value of dial graduation and then fixed
nos of graduations are incremented and corresponding readings obserbed in the electronic display
and compared with the nos of graduations advanced in the dial gauge.The difference in value is
compared with the standard specified in JIS and if lie within specified range,Dial Gauge is accepted.
Standard Accessories : The standard accessries required for the operation of the machine are Probe P 10,
Electronic Display Unit D 80.
Calibration: The annual calibration of the instrument is subject to satisfactory performance of the machine.
Calibration Frequecy: In case of suspected performance ,the instrument is calibrated by the maker .
Referred Documents : Operation Standard annexure to TSW-QA-003 |  | Operation Standard "Annexure to ISW-QA-006"
Prepared By |  | Checked By |  | Approved By |  | Released By
[5 empty] | Doc No : |  | ISW-QA-006
[5 empty] | Issue No : |  | 4
Musashi Auto Parts India Pvt Ltd |  |  |  |  | Rev No : |  | 1
[5 empty] | Date : |  | 16.11.2013
Electronic Dial Calibration Tester
Identification display method:
Calibration sticker on Dial Calibration Tester Provided by Maker or MAP-ID.
Recorded Document:
Calibration cerfificate given by maker after calibration.
Tracibility:
| NABL |  | EXTERNAL CALIBRATION AGENCY | DIAL CALIBRATION TESTER
Prepared By |  | Checked By |  | Approved By |  | Released By