## EXTERNAL CAL REV 02 2019-2020
DOC. NO - ISF-QA-052A Rev.-00
EXTERNAL AMC & CALIBRATION PLAN VS ACTUAL 2019-2020
[21 empty] | PREPARED BY | CHECKED BY | APPROVED BY
[21 empty] | Rev: 02 | Date | 2019-03-27
[6 empty] | CALIBRATION PLAN |  | CALIBRATION ACTUAL
SL No | M/C NAME | TYPE | QTY | INSTRUMENT CODE/RANGE | SERIAL NO. | CALIBRATOR | MAKER | LAST CALIBRATION DATE | DUE DATE | LOCATION | NABL VALID DATE | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
UPDATED BY
REVIEWED BY
APPROVED BY

## EXTERNAL CAL REV 02 2019-20 (2)
DOC. NO - ISF-QA-052A Rev.-00
EXTERNAL AMC & CALIBRATION PLAN VS ACTUAL 2019-2020
[22 empty] | PREPARED BY | CHECKED BY | APPROVED BY
[22 empty] | Rev: 02 | Date | 2019-03-27
[6 empty] | CALIBRATION PLAN |  | CALIBRATION ACTUAL
SL No | M/C NAME | TYPE | QTY | INSTRUMENT CODE/RANGE | SERIAL NO. | CALIBRATOR | MAKER | LAST CALIBRATION DATE | DUE DATE | LOCATION | NABL VALID DATE |  | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
1 | CONTRACER | AMC | 1 | 218-487E | 100031208 | MITUTOYO | MITUTOYO | 2018-08-17 | 2019-08-16 | STD ROOM | 2020-02-02 | PLAN
ACTUAL
2 | CONTRACER | AMC | 1 | 218-487E | - | MITUTOYO | MITUTOYO | 2018-08-17 | 2019-08-16 | TOOL ROOM | 2020-02-02 | PLAN
ACTUAL
3 | SURFACE ROUGHNESS TESTER | AMC | 1 | 178-472E-1 | 700021207 | MITUTOYO | MITUTOYO | 2018-06-20 | 2019-06-19 | STD ROOM | 2020-02-02 | PLAN
ACTUAL
4 | ROUNDNESS TESTER | AMC | 1 | 211-572E | 500011201 | MITUTOYO | MITUTOYO | 2018-08-24 | 2019-08-23 | STD ROOM | 2020-02-02 | PLAN
ACTUAL
5 | CMM | AMC | 1 | - | 61301213 | MITUTOYO | MITUTOYO | 2018-10-02 | 2019-10-01 | STD ROOM | 2020-02-02 | PLAN
ACTUAL
6 | CAM TESTER | AMC | 1 | C-PH-850JSD/AMJ044 | 38-8-3867 | ACCRETECH | ACCRETECH | 2018-06-26 | 2019-06-25 | STD ROOM | - | PLAN
ACTUAL
7 | GEAR TESTER | AMC | 1 | CLP-35 | 351058 | OSAKA | OSAKA | 2018-07-13 | 2019-07-12 | STD ROOM | - | PLAN
ACTUAL
8 | GEAR TESTER | AMC | 1 | CLP-36 | 351056 | OSAKA | OSAKA | 2018-07-14 | 2019-07-13 | STD ROOM | - | PLAN
ACTUAL
9 | LINEAR HEIGHT GAUGE | AMC | 1 | 518-342E-21 | 400621207 | MITUTOYO | MITUTOYO | 2018-06-20 | 2019-06-19 | STD ROOM | 2020-02-02 | PLAN
ACTUAL
10 | ROCKWELL HARDNESS TESTER | AMC | 1 | 2014/544 | - | - | SASTHA | 2018-04-23 | 2019-04-22 | TOOL ROOM | - | PLAN
ACTUAL
11 | ROCKWELL HARDNESS TESTER | AMC | 1 | 128/2014-15 | - | - | SASTHA | 2018-04-23 | 2019-04-22 | TOOL ROOM | - | PLAN
ACTUAL
12 | ROCKWELL HARDNESS TESTER | AMC | 1 | 963-241E | 369207 | MITUTOYO | MITUTOYO | 2018-08-14 | 2019-08-13 | MET LAB | 2020-02-02 | PLAN
ACTUAL
13 | ROCKWELL HARDNESS TESTER | AMC | 1 | 963-241E | 227204 | MITUTOYO | MITUTOYO | 2018-08-14 | 2019-08-13 | MET LAB | 2020-02-02 | PLAN
ACTUAL
14 | VICKERS HARDNESS TESTER | AMC | 1 | 810-408E | 200021211 | MITUTOYO | MITUTOYO | 2018-07-20 | 2019-07-19 | MET LAB | 2020-02-02 | PLAN
ACTUAL
15 | VICKERS HARDNESS TESTER | AMC | 1 | 810-404E | 51612 | MITUTOYO | MITUTOYO | 2018-07-20 | 2019-07-19 | MET LAB | 2020-02-02 | PLAN
ACTUAL
16 | MICROSCOPE | AMC | 1 | - | - | I R TECH | OLYMPUS | 2018-04-18 | 2019-04-17 | MET LAB | 2020-11-01 | PLAN
ACTUAL
17 | REFRACTROMETERS | CALIBRATION | 6 | - | - | HTA | HENIX | 2018-08-13 | 2019-08-12 | SHOP FLOOR | - | PLAN
ACTUAL
18 | PCD TESTER | CALIBRATION | 6 | - | - | VAIDYANATHESWAR | - | 2018-06-05 | 2019-06-04 | SHOP FLOOR | 2019-10-26 | PLAN
ACTUAL
19 | BENCH CENTER | CALIBRATION | 10 | - | FABR021804001-011 | VAIDYANATHESWAR | BAGSON | 2018-06-05 | 2019-06-04 | STD ROOM | 2019-10-26 | PLAN
ACTUAL
20 | SURFACE PLATE | CALIBRATION | 6 | 1000*1000 | - | ACCURATE ENGG | BAGSON | 2018-05-19 | 2019-05-18 | STD ROOM | 2019-06-16 | PLAN
ACTUAL
21 | SURFACE PLATE | CALIBRATION | 25 | 400*400 | - | ACCURATE ENGG | BAGSON | 2018-05-19 | 2019-05-18 | CALIBRATION | 2019-06-16 | PLAN
ACTUAL
22 | CALIPER CHEKKER | CALIBRATION | 1 | 0 - 600 MM | 2463 | ACCURATE ENGG | MITUTOYO | 2019-01-14 | 2020-01-13 | CAL. LAB | 2019-06-16 | PLAN
ACTUAL
23 | MICROMETER CHEKKER | CALIBRATION | 1 | 2.5 -25 MM | 2736 | ACCURATE ENGG | MITUTOYO | 2019-01-14 | 2020-01-13 | CAL. LAB | 2019-06-16 | PLAN
ACTUAL
24 | SLIP GAUGE SET(STEEL) 0 ' GARDE | CALIBRATION | 1 | 0.5 - 100 MM | 1300887 | ACCURATE ENGG | MITUTOYO | 2019-01-14 | 2020-01-13 | CAL. LAB | 2019-06-16 | PLAN
ACTUAL
25 | SLIP GAUGE SET(CERAMIC) | CALIBRATION | 1 | 1 -100 MM | 1204083 | ACCURATE ENGG | MITUTOYO | 2019-01-14 | 2020-01-13 | CAL. LAB | 2019-06-16 | PLAN
ACTUAL
26 | SLIP GAUGE SET(CARBIDE) | CALIBRATION | 1 | 1.005 - 100 MM | 2735 | ACCURATE ENGG | MITUTOYO | 2019-01-15 | 2020-01-14 | CAL. LAB | 2019-06-16 | PLAN
ACTUAL
27 | THREE PIN MICROMETER | CALIBRATION | 1 | - | 6013107/6013159/6013182/160069/160150 | ACCURATE ENGG | MITUTOYO | 2019-01-14 | 2020-01-13 | CAL. LAB | 2019-06-16 | PLAN
ACTUAL
28 | RADIUS GAUGES | CALIBRATION | 4 | - | - | ACCURATE ENGG | MITUTOYO | 2019-01-14 | 2020-01-13 | CAL. LAB | 2019-06-16 | PLAN
ACTUAL
29 | MEASURING CYLINERICAL PIN SET | CALIBRATION | 1 | 4.01 - 5.50 MM | 9371 | ACCURATE ENGG | ADITYA | 2019-01-14 | 2020-01-13 | CAL. LAB | 2019-06-16 | PLAN
ACTUAL
30 | TORQUE WRENCHS | CALIBRATION | 1 | - | - | FLUTECH | NORBER | 2018-05-02 | 2019-05-01 | CAL. LAB & ASSY | - | PLAN
ACTUAL
31 | MEASURING CYLINERICAL PIN SET | CALIBRATION | 1 | 2.51 - 4.00 MM | 9370 | ACCURATE ENGG | ADITYA | 2019-01-14 | 2020-01-13 | CAL. LAB | 2019-06-16 | PLAN
ACTUAL
32 | MEASURING CYLINERICAL PIN SET | CALIBRATION | 1 | 1.01 - 2.50 MM | 9369 | ACCURATE ENGG | ADITYA | 2019-01-14 | 2020-01-13 | CAL. LAB | 2019-06-16 | PLAN
ACTUAL
33 | AIR GAUGE UNITS,COLOUMN GAUGE,DISPLAY UNITS | CALIBRATION | 96 | - | - | BAKER | BAKER | 2018-06-18 | 2019-06-17 | SHOP FLOOR | 2020-07-02 | PLAN
ACTUAL
34 | AIR GAUGE UNITS,COLOUMN GAUGE,DISPLAY UNITS | CALIBRATION | 33 | - | - | MGPL | MGPL | 2018-06-20 | 2019-06-19 | SHOP FLOOR | 2019-05-07 | PLAN
ACTUAL
UPDATED BY
REVIEWED BY
APPROVED BY