## Receiving Gauge Register
|  |  | RECEIVING GAUGE REGISTER & GAUGE STATUS | [14 empty] | ISF-QA-116
ORIGINAL DATE: 25.02.2020
REV NO :00
REV DATE :25.02.2020
Responsibility: Calibration team.
SL.NO | INVOICE No. | RECEIVED DATE | MODEL | PART NAME | NAME OF IMTE/GAUGES | SPECIFICATIONS | MAKE | QTY | RECEIVED BY (ME/STORE) | RECEIVED STATUS |  | QA INSPECTION/CALIBRATION |  | JUDGEMENTS | GAUGE JUDGEMENTS FOUND OK | IF GAUGE JUDGEMENTS FOUND NG
[10 empty] | YES (√), NO (X) | [5 empty] | RETURNED / REPORTS SHARED |  | AFTER CORRECTION
[10 empty] | SUPPLIER INSP/CAL.REPORT | DRAWINGS | DONE BY | DATE ON |  | IMTE CONTROL No. | BY | ON | DATE | JUDGEMENTS | REMARKS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
NOTE: | 1) Incase Judgements NG found during Receipt stage/Calibration stage- Needs to send back to concerned supplier within 1 Week.
2) After receipt of IMTE/ Gauge calibration/ verifications shall be done within 3days from Received date.

## CAL FREQ SELECTION CHART
CALIBRATION FREQUENCY SELECTION CHART
IMTE NAME: |  | ONE MONTH MEASURING QTY (No.s)
PPG,PRG,APG,ARG,SG,Sp. Gauges |  | Above 20000 | 15000-20000 | 10000-15000 | 5000-10000 | 2000-5000 | 500-2000 | Below 500
TOTAL TOLERANCE (mm) | Less than 0.012 | 1 Month | 2 Month | 3Month | 4 Month | 5 Month | 6 Month | 7 Month
| 0.012-0.025 | 2 Month | 3 Month | 4 Month | 5 Month | 6 Month | 7 Month | 8 Month
| 0.025-0.050 | 3 Month | 4 Month | 5 Month | 6 Month | 7 Month | 8 Month | 9 Month
| 0.050-0.075 | 4 Month | 5 Month | 6 Month | 7 Month | 8 Month | 9 Month | 10 Month
| 0.075-0.100 | 5 Month | 6 Month | 7 Month | 8 Month | 9 Month | 10 Month | 11 Month
| 0.100-0.150 | 6 Month | 7 Month | 8 Month | 9 Month | 10 Month | 11 Month | 12 Month
| 0.150-0.200 | 7 Month | 8 Month | 9 Month | 10 Month | 11 Month | 12 Month | 13 Month
| 0.200-0.250 | 8 Month | 9 Month | 10 Month | 11 Month | 12 Month | 13 Month | 14 Month
| above 0.250 | 9 Month | 10 Month | 11 Month | 12 Month | 13 Month | 14 Month | 15 Month
NOTE: | Calibration frequency decided based on MAP-ID usage of IMTE's.
The calibration frequency decrease and increase depend on the usage in proper verification or proper studies.

## GPD MASTER GEAR
ISF-QA-062
Master Gear Calibration Format
Date of Inspection :
Master Gear Control No : |  | C07L35GE0023-
Master Gear Drawing No : |  | 23121-K0NA-D010
Component Name & Model : |  | GPD K0NA
Section Name :
Sl No | Checking Parameter | Specification | Inspection Method | Observed Value |  | Disposition (OK/NG)
1 | Niks , Burrs | No Niks, Burrs | Visual
2 | Tooth Thickness Over 6 Teeth | 30.0710±0.010 | Span Mic
3 | Profile (Form Error) FFA | 0.003 | Gear Tester | Left Flank | Right Flank
4 | Profile (Pr Angle Error) FA | 0.003 | Gear Tester
5 | Lead (Form Error ) FQA | 0.0035 | Gear Tester
6 | Lead (Tooth Allignment Error ) FH | 0.004 | Gear Tester
7 | Adjacent Pitch Error (FTU) | 0.004 | Gear Tester
8 | Single Pitch Error (FPT) | 0.005 | Gear Tester
9 | OD R/O | 0.008 | BENCH CENTER
10 | PCD R/O | 0.008 | PCD TESTER
11 | OD Size | Ø127.9±0.020 | OD Mic
12 | Bore Dia | Ø32.0+0.004 | Bore Dial Gauge
13 | Bore Ovality | 0.002 | Bore Dial Gauge
14 | Face R/O wrt Bore | 0.003 | PCD TESTER
Remarks :
| Checked By :- |  |  | Approved By :-

## GPDN MASTER GEAR
ISF-QA-062
Master Gear Calibration Format
Date of Inspection :
Master Gear Control No : |  | C07L35GE0022-
Master Gear Drawing No : |  | 23111-K0NA-D010-H1
Component Name & Model : |  | GPDN K0NA
Section Name :
Sl No | Checking Parameter | Specification | Inspection Method | Observed Value |  | Disposition (OK/NG)
1 | Niks , Burrs | No Niks, Burrs | Visual
2 | Tooth Thickness Over 6 Teeth | 29.942±0.010 | Span Mic
3 | Profile (Form Error) FFA | 0.003 | Gear Tester | Left Flank | Right Flank
4 | Profile (Pr Angle Error) FA | 0.003 | Gear Tester
5 | Lead (Form Error ) FQA | 0.0035 | Gear Tester
6 | Lead (Tooth Allignment Error ) FH | 0.004 | Gear Tester
7 | Adjacent Pitch Error (FTU) | 0.004 | Gear Tester
8 | Single Pitch Error (FPT) | 0.005 | Gear Tester
9 | OD R/O | 0.008 | BENCH CENTER
10 | PCD R/O | 0.008 | PCD TESTER
11 | OD Size | Ø128.4±0.020 | OD Mic
12 | Bore Dia | Ø32.0+0.004 | Bore Dial Gauge
13 | Bore Ovality | 0.002 | Bore Dial Gauge
14 | Face R/O wrt Bore | 0.003 | PCD TESTER
Remarks :
| Checked By :- |  |  | Approved By :-

## ASSY FIX INSP. REPORT
Assembly Fixture Inspection Report
CONTROL NO. |  |  |  |  | DRG.NO. | [5 empty] | Apporval
Description |  |  |  |  | Location
Incharge
CALIBRATION DATE |  |  |  |  | DUE DATE
[8 empty] | Measurement Unit |  | mm/microns
Sl No. | Inspection Parameter | Inspection Method | DRG.NO. | Specification |  | Measurement Observations | [5 empty] | Disposition (OK/NG)
[6 empty] | 1 | 2 |  | 3 | 4
1 | LOCATOR DIA | BORE GAUGE | G 00753 02 225 | 17.0+0.02+0.005
2 | LOCATOR HEIGHT | LINEAR HEIGHT GAUGE | G 00753 02 225 | 44+0.02-0.01
3 | Templet Dimension | LINEAR HEIGHT GAUGE | 2G 00377 00 568 | 0.66-0.15-0.30
4 | Templet Dimension | LINEAR HEIGHT GAUGE | 2G 00377 00 568 | 9.26+0.30+0.15
5 | Templet Dimension | LINEAR HEIGHT GAUGE | 2G 00377 00 568 | 16.11-0.30-0.15
6 | Templet Dimension | LINEAR HEIGHT GAUGE | 2G 00377 00 568 | 26.06+0.15+0.30
7 | Templet Dimension | LINEAR HEIGHT GAUGE | 2G 00377 00 568 | 36.35+0.15+0.30
8 | Templet Dimension | LINEAR HEIGHT GAUGE | 2G 00377 00 568 | 38.91-0.30-0.15
9 | Templet Dimension | LINEAR HEIGHT GAUGE | 2G 00377 00 568 | 40.91-0.30-0.15
10 | Templet Dimension | LINEAR HEIGHT GAUGE | 2G 00377 00 568 | 49.86+0.30+0.15
11 | Templet Dimension | LINEAR HEIGHT GAUGE | 2G 00377 00 568 | 60.82-0.15-0.30
12 | Templet Dimension | LINEAR HEIGHT GAUGE | 2G 00377 00 568 | 72.02+0.30+0.15
Consideration/Remarks
JUDGEMENTS
OK
ISF-QA-044 | [10 empty] | NG
1
2
3
4
4
1
2
3
4
4
1
2
3
4
4

## SPLINE-SPG
SPLINE PLUG GAUGE CALIBRATION REPORT
GAUGE ID (GO) : |  |  |  |  | CAL DATE :
GAUGE ID (NOGO) : |  |  |  |  | DUE DATE :
GAUGE SIZE : |  |  |  |  | LINE :
PART NAME & MODEL :
STAGE :
GO SPLINE GAUGE
NO OF SPLINES | MAJOR DIA | MINOR DIA | PILOT DIA | CYLINDRICAL PIN DIA | DIMN. OVER PIN | SPLINE WIDTH | REMARK
NOGO SPLINE GAUGE
NO OF SPLINES | MAJOR DIA | MINOR DIA | PILOT DIA | CYLINDRICAL PIN DIA | DIMN. OVER PIN | SPLINE WIDTH | REMARK
| CHECKED BY |  |  |  |  | APROVED BY
`

## SPLINE-SRG
SPLINE RING GAUGE CALIBRATION REPORT
GAUGE ID (GO) : |  |  |  | CAL DATE :
GAUGE ID (NOGO) : |  |  |  | DUE DATE :
GAUGE SIZE : |  |  |  | LINE :
PART NAME & MODEL :
STAGE :
GO SPLINE GAUGE
NO OF SPLINES | MAJOR DIA | MINOR DIA | CYLINDRICAL PIN DIA | DIMN BETWEEN PIN | SPLINE WIDTH | REMARK
NOGO SPLINE GAUGE
NO OF SPLINES | MAJOR DIA | MINOR DIA | CYLINDRICAL PIN DIA | DIMN BETWEEN PIN | SPLINE WIDTH | REMARK
| CHECKED BY |  |  |  | APROVED BY

## SP. GAUGES
CALIBRATION STANDARD FOR SPECIAL GAUGES /INSTRUMENTS
|  |  | Prepared By | Checked by |  | Approved By
Gauge ID |  |  |  |  | Report No | SGR-01
Part Name: |  |  |  |  | Date | 25.09.2019
Part no : |  |  |  |  | Rev No | 00'
Gauge Description |  |  |  |  | Original Date | 25.09.2019
Drg Revision no & Date
CLASS | FIT/FUNCTION/MQS - |  | PROCESS CONTROL - | PAST TROUBLE
S. No. | CLASS | Parameter | Specification | Inspection Metod | LC | Remarks
1 |  | PARALLALITY @ SMALL END (A) | 0.005 Max | CMM / Dial & height | 0.0001 / 0.001
2 |  | PARALLALITY @ BIG END (B) | 0.005 Max | CMM / Dial & height | 0.0001 / 0.001
3 |  | COMPARATIVITY (A-B) | 0.01 Max | CMM / Dial & height | 0.0001 / 0.001
4 |  | FLATNESS Both Small & Big End) | 0.01 Max | CMM / Dial & height | 0.0001 / 0.001
5
6
7
8
9
10
11
12
Remarks (if any) :